## ENDONASAL SKULL BASE SET
Endoscopic Endonasal Skull Base Surgery
Standard IQS 40359100
NSW Set# N28164BU
Endoscope Tray
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
1 | 28132AA |  | HOPKINS II 0º Telescope, enlarged view, Autoclavable | 18cm | 4mm | Y
2 | 28132BVA |  | HOPKINS II 30º Telescope, enlarged view, reversed light post, Autoclavable | 18cm | 4mm | Y
3 | 28132FVA |  | HOPKINS II 45º Telescope, enlarged view, reversed light post, Autoclavable | 18cm | 4mm | Y
4 | 495ND |  | Fiber optic light cable | 300 cm | 3.5mm | Y
Endoscopic Endonasal Skull Base Surgery
Standard IQS 40359100
NSW Set# N28164BU
Access Tray
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
5 | 28164EA |  | Cottle elevator, double-ended, semi-sharp and blunt, graduated | 26cm |  | Y
6 | 629820 |  | Double-ended probe / Ostium seeker, ball tips 1.2mm and 2mm | 19cm | 1.2 & 2mm | Y
7 | 474001 |  | FREER suction elevator, with stylet | 19cm |  | Y
8 | 28164EB |  | CASTELNUOVO elevator, double ended, angled end shovel-shape, semi-sharp, blunt end slightly curved, graduated | 26cm |  | N
9 | 28164EC |  | CASTELNUOVO elevator, double ended, blunt end angled, semi-sharp end slightly curved, graduated | 26cm |  | Y
10 | 449201 |  | RHINOFORCE nasal scissors, straight | 13cm | 13mm | Y
11 | 449203 |  | RHINOFOCE nasal scissors, curved left | 13cm | 13mm | Y
12 | 459016 |  | STAMMBERGER antrum punch, Backward cutting, 360º rotatable sheath w/locking screw, WL:10CM | 10cm |  | Y
13 | 651055 |  | STAMMBERGER Punch, circular cutting | 18cm | 3.5mm | Y
14 | 28164MKA |  | KERRISON bone punch, rigid, upbiting 60° forward | 17cm | 1mm | Y
15 | 28164MKB |  | KERRISON bone punch, rigid, upbiting 60° forward | 17cm | 2mm | N
16 | 28164MKC |  | KERRISON bone punch, rigid, upbiting 60° forward | 17cm | 3mm | Y
17 | 28164MKK |  | KERRISON bone punch, rigid, upbiting 60° forward | 17cm | 4mm | N
18 | 28164MKD |  | KERRISON bone punch, rigid, downbiting 60° forward | 17cm | 1mm | N
19 | 28164MKE |  | KERRISON bone punch, rigid, downbiting 60° forward | 17cm | 2mm | Y
20 | 451021 |  | Forceps, nasal cutting, straight, through cutting, powerful resection, BLAKESLEY shape, Size 1 | 13cm |  | Y
21 | 451520 |  | Forceps, nasal cutting, 45º upturned, through cutting, powerful resection, BLAKESLEY shape, Size 0 | 13cm |  | Y
22 | 456500B |  | BLAKESLEY Rhinoforce forceps, 45°upturned, size 0 | 13cm |  | Y
23 | 456001B |  | BLAKESLEY Rhinoforce forceps, straight, size 1 | 13cm |  | Y
24 | 28164MZF |  | Pituitary cutting forceps, single action jaw | 17cm | 3 x 10mm | Y
Endoscopic Endonasal Skull Base Surgery
Standard IQS 40359100
NSW Set# N28164BU
Suction / Irrigation Tray
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
25 | 586241 |  | v. EICKEN Antrum Cannula, LUER-Lock, with cut-off hole, short curved | 12.5cm | 4mm | Y
26 | 649179B |  | Malleable Suction Tube with conical tip, elongated cut-off hole and stylet, LUER | 15cm | 4Fr | Y
27 | 649179C |  | Malleable Suction Tube with conical tip, elongated cut-off hole and stylet, LUER | 18cm | 4Fr | N
28 | 649180B |  | Malleable Suction Tube with conical tip, elongated cut-off hole and stylet, LUER | 15cm | 6Fr | Y
29 | 649180C |  | Malleable Suction Tube with conical tip, elongated cut-off hole and stylet, LUER | 18cm | 6Fr | Y
30 | 649182B |  | Malleable Suction Tube with conical tip, elongated cut-off hole and stylet, LUER | 15cm | 8Fr | Y
31 | 649182C |  | Malleable Suction Tube with conical tip, elongated cut-off hole and stylet, LUER | 18cm | 8Fr | Y
32 | 649183B |  | Malleable Suction Tube with conical tip, elongated cut-off hole and stylet, LUER | 15cm | 10Fr | Y
33 | 649183C |  | Malleable Suction Tube with conical tip, elongated cut-off hole and stylet, LUER | 18cm | 10Fr | Y
34 | 28164XC |  | Suction Tube, with cut-off hole, drop-shaped, with distance markings, LUER, conical distal end, tip curved upwards, ball end | 15cm | 8Fr | N
Endoscopic Endonasal Skull Base Surgery
Standard IQS 40359100
NSW Set# N28164BU
Bipolar Tray
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
TAKE-APART® Bipolar Forceps system comes with 2 complete handle/sheaths, and 5 coagulation tip configurations
35 | 28164BDD |  | TAKE-APART® Bipolar Forceps, configuration consisting of: 26284HM-NEURO: Handle 26284AS: Outer Sheath 26284BS: Inner Sheath 28164FGD/2, width 2mm, distally angled 45°, horizontal closing | 20cm | 2mm | Y | Sterile, Single use inserts, Pack of 2; for reorder use 28164FGD/2
36 | 28164BDG |  | TAKE-APART® Bipolar Forceps, configuration consisting of: 26284HM-NEURO: Handle 26284AS: Outer Sheath 26284BS: Inner Sheath 28164FDG/2, straight forward, sharp, arrow tip, coaxial closing | 20cm | Arrow tip | Y | Sterile, Single use inserts, Pack of 2; for reorder use 28164FDG/2
37 | 28164FGK/2 |  | TAKE-APART® Bipolar Forceps inserts, width 4 mm, distally angled 45°, horizontal closing | 20cm | 4mm | Y | Sterile, Single use inserts, Pack of 2
38 | 28164FGL/2 |  | TAKE-APART® Bipolar Forceps, width 1 mm, delicate jaws, distally angled 45°, vertical closing | 20cm | 1mm | Y | Sterile, Single use inserts, Pack of 2
39 | 28164FGM/2 |  | TAKE-APART® Bipolar Forceps, width 1 mm, delicate jaws, distally angled 45°, horizontal closing | 20cm | 1mm | Y | Sterile, Single use inserts, Pack of 2
40 | 26176LA-NSM |  | Bipolar high frequency cord with two 4mm banana plugs |  | 4mm | Y | Use 26176LD/10-NSM for sterile, single use (10/pkg)
Endoscopic Endonasal Skull Base Surgery
Standard IQS 40359100
NSW Set# N28164BU
Micro Forceps and Scissors Tray
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
41 | 28164GL |  | Miniature forceps with fine flat jaws, curved left, through-cutting, width of cut 1mm | 18cm | 1mm | N
42 | 28164GR |  | Miniature forceps with fine flat jaws, curved right, through-cutting, width of cut 1mm | 18cm | 1mm | N
43 | 28164GS |  | Miniature forceps with fine flat jaws, straight, through-cutting, width of cut 1mm | 18cm | 1mm | N
44 | 28164GU |  | Miniature forceps with fine flat jaws, curved up, through-cutting, width of cut 1mm | 18cm | 1mm | Y
45 | 28164TA |  | Extra delicate forceps, oval cupped jaws, diameter 0.6mm, 45° upturned | 18cm | 0.6mm | Y
46 | 28164TD |  | Extra delicate forceps, round cup jaws, diameter 0.6mm, straight | 18cm | 0.6mm | N
47 | 28164TE |  | Extra delicate forceps, oval cupped jaws, diameter 0.6mm, curved to right | 18cm | 0.6mm | N
48 | 28164TF |  | Extra delicate forceps, oval cupped jaws, diameter 0.6mm, curved to left | 18cm | 0.6mm | N
49 | 28164T |  | Extra delicate forceps, round cup jaws, diameter 0.9mm, straight | 18cm | 0.9m | Y
50 | 28164SAD |  | Delicate scissors curved 45º, shaft 360º rotatable | 18cm |  | Y
51 | 28164MZB |  | Scissors, straight, extra delicate | 18cm |  | Y
52 | 28164MZC |  | Scissors, curved right, extra delicate | 18cm |  | Y
53 | 28164MZD |  | Scissors, curved left, extra delicate | 18cm |  | Y
54 | 28164MZE |  | Scissors, angled upwards | 18cm |  | Y
Endoscopic Endonasal Skull Base Surgery
Standard IQS 40359100
NSW Set# N28164BU
Dissector Tray
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
55 | 28164KK-KT |  | de DIVITIS-CAPPABIANCA scalpel, with retractable blade consists of: 28164MA Handle 28164MB Outer Sheath 28164MS/3 Micro-Knife, sickle shape, sterile, single use | 23cm |  | Y | Sickle shaped blade insert pack of 3, sterile, single use
56 | 28164M-KT |  | de DIVITIS-CAPPABIANCA scalpel, with retractable blade consists of: 28164MA Handle 28164MB Outer Sheath 28164MC/3 Micro-Knife, pointed, sterile, single use | 23cm |  | Y | Pointed blade insert pack of 3, sterile, single use
57 | 28164DA |  | Dissector, sharp, round spatula, tip angled 45º | 25cm | 2mm | Y
58 | 28164DB |  | Dissector, sharp, round spatula, tip angled 45º | 25cm | 3mm | Y
59 | 28164DF |  | Dissector, sharp, flat long spatula, tip angled 15º | 25cm | 1.5mm | N
60 | 28164DM |  | Dissector, sharp, slightly curved spatula, straight | 25cm | 3mm | Y
61 | 28164MP |  | Round knief, vertical, oval | 25cm | 3.5 x 2.5mm | N
62 | 28164DS |  | Elevator, tip angled 15° | 25cm | 2mm | Y
63 | 28164EL |  | MINTZ micro raspatory, curved left | 17cm | 2mm | NSW sample set has 28164ELS
64 | 28164ER |  | MINTZ micro raspatory, curved right | 17cm | 2mm | NSW sample set has 28164ERS
65 | 28164H |  | CASTELNUOVO hook, 90º, blunt, with round handle | 25cm |  | NSW sample set has 28164HC
Endoscopic Endonasal Skull Base Surgery
Standard IQS 40359100
NSW Set# N28164BU
Curette Tray
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
66 | 28164KB |  | Curette, round spoon, slightly angled, with round handle | 23cm | 2mm | Y
67 | 28164KC |  | Curette, round spoon, tip slightly angled | 23cm | 3mm | Y
68 | 28164KF |  | Curette, round spoon, strongly angled | 25cm | 2mm | N
69 | 28164RA |  | CAPPABIANCA-de DIVITIS ring curette, round wire, inner diameter 5mm, laterally curved shaft end, with round handle | 25cm | 5mm | Y
70 | 28164RD |  | CAPPABIANCA-de DIVITIS ring curette, round wire, laterally curved shaft end 90° | 25cm | 5mm | Y
71 | 28164RF |  | CAPPABIANCA-de DIVITIS ring curette, round wire, vertical, tip angled 45° | 25cm | 5mm | Y
72 | 28164RG |  | CAPPABIANCA-de DVITIS ring curette, round wire, tip angled 90° | 25cm | 5mm | Y
73 | 28164RM |  | CAPPABIANCA-de DIVITIS ring curette, round wire, horizontal, tip angled 45° | 25cm | 5mm | N
74 | 28164RN |  | CAPPABIANCA-de DIVITIS ring curette, round wire, inner diameter 3mm, tip angled 45°, with round handle | 25cm | 3mm | Y
75 | 28164RO |  | CAPPABIANCA-de DIVITIS ring curette, round wire, inner diameter 5mm, tip angled 45°, with round handle | 25cm | 5mm | Y
76 | 28164RP |  | CAPPABIANCA-de DIVITIS ring curette, round wire, inner diameter 7mm, tip angled 45°, with round handle | 25cm | 7mm | N
77 | 28164RT |  | CAPPABIANCA-de DIVITIS suction curette, with basket, round, rotatable tube, LUER | 25cm | 5mm | Y
78 | 28164RSB |  | CAPPABIANCA-de DIVITIS suction curette, blunt, inner diameter 5mm, tip angled 45°, LUER | 25cm | 5mm | Y
79 | 28164RSC |  | CAPPABIANCA-de DIVITIS suction curette, blunt, inner diameter 7mm, tip angled 45°, LUER | 25cm | 7mm | N
Endoscopic Endonasal Skull Base Surgery
Standard IQS 40359100
NSW Set# N28164BU
Optional Micro Instrument Tray
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
SEPEHRNIA Scissors
80 | 28164SBA |  | Micro scissors, bayonet-shaped, sharp/sharp, straight, WL 10cm | 10cm |  | N | Optional Micro instruments are not included in the NSW sample set. To trial micro instruments, order NSW sample set# N28162AV2
81 | 28164SBB |  | Micro scissors, bayonet-shaped, sharp/sharp, curved left | 10cm |  | N
82 | 28164SBC |  | Micro scissors, bayonet-shaped, blunt/blunt, straight | 10cm |  | N
83 | 28164SBD |  | Micro scissors, bayonet-shaped, sharp/sharp, curved right | 10cm |  | N
84 | 28164SBE |  | Micro scissor, bayonet-shaped, sharp/sharp, jaws horizontal | 10cm |  | N
SEPEHRNIA Applying Forceps
85 | 28164ZBA |  | Micro clip applying forceps, Yasargil clips | 10cm |  | N
86 | 28164ZBB |  | Micro clip applying forceps, yasargil mini clips | 10cm |  | N
SEPEHRNIA Forceps
87 | 28164PBE |  | Micro forceps, bayonet-shaped, 4mm, spoon | 10cm | 4mm | N
88 | 28164PBH |  | Micro forceps, bayonet-shaped, 4mm, spoon, horizontal | 10cm | 4mm | N
SEPEHRNIA Needle Holder
89 | 28164NBB |  | Micro needle holder, bayonet-shaped, 2 x 6mm, straight | 10cm | 2 x 6mm | N
90 | 28164NBC |  | Micro needle holder, bayonet-shaped, 1 x 6mm, curved left | 10cm | 1 x 6mm | N
SEPEHRNIA Grasping Forceps
91 | 28164PBA |  | Micro forceps, bayonet-shaped, smooth, 0.5mm | 10cm | 0.5mm | N
92 | 39501AN-ZBX |  | TRAY FOR CLEANING, STERILIZATION AND STROAGE UP TO 6 INSTRUMENTS, WITH SILICONE INSTRUMENT TRAY AND LID, DIMENTIONS (W x H x D): 352 X 125 X 54 |  |  | N
Endoscopic Endonasal Skull Base Surgery
Standard IQS 40359100
NSW Set# N28164BU
Clearvision® II Lens Cleaning System
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
93 | 28164CBA |  | CLEARVISION II irrigation sheath f/ 28132AA | 14cm | 5mm | N
94 | 28164CBB |  | CLEARVISION II irrigation sheath f/ 28132BVA | 14cm | 5mm | N
95 | 28164CBF |  | CLEARVISION II irrigation sheath f/ 28132FVA | 14cm | 5mm | N
96 | 40334101-NEURO |  | CLEARVISION II system includes: 40334101:CLEARVISION II LENS IRRIGATION SET, WITH 40334120 CLEARVISION II UNIT, 20010230 FOOTSWITCH AND 400A POWER CORD ***TUBING IS NOT INCLUDED*** | N/A | N/A | N
97 | 031229-10-NEURO |  | CLEARVISION II tubing set, sterile, single use, 10/PKG | N/A | N/A | N

## ENDONASAL 30CM TELESCOPE
Endonasal 30cm Telescope Set
Standard IQS 40241877
NSW Set# N28164C
Telescopes
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
HOPKINS® II Straight Forward Telescope, enlarged view, autoclavable, fiber optic light transmission incorporated, long length ideal for skull base team approach
1 | 28164AA |  | HOPKINS® II Straight Forward telescope, 0° enlarged view, autoclavable | 30cm | 4mm | Y | Long 30cm length allows the endoscope to be held up and away from the instrumentation; ideal for team-approach skull base surgeries
2 | 28164BA |  | HOPKINS® II Forward Oblique telescope, 30° enlarged view, autoclavable | 30cm | 4mm | Y
Endonasal 30cm Telescope Set
Standard IQS 40241877
NSW Set# N28164C
Sheaths
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
To protect the optic. When used with a Clearvision pump, allows the cleaning of the distal lens.
3 | 28164ASA |  | Irrigation sheath, for use with 28164AA telescope | 24cm | 5mm | Y
4 | 28164BSA |  | Irrigation sheath, for use with 28164BA telescope | 24cm | 5mm | Y

## EAM Telescopes
EAM Telescopes
Standard IQS 40112367
NSW Set# N28162AV
Angled Eye-Piece Telescopes
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
45° Angled eye-piece permits camera to be up and out of the way of the surgical field. Ideal for small key hole surgeries, and/or Endoscope-Assisted Microsurgery.
1 | 28162AVA |  | HOPKINS® II Straight Forward telescope, 0° enlarged view, autoclavable, with angled eyepiece | 20cm | 4mm | Y
2 | 28162BVA |  | HOPKINS® II Forward Oblique telescope, 30° enlarged view, autoclavable, with angled eyepiece | 20cm | 4mm | Y
3 | 28162AKA |  | HOPKINS® II Straight Forward telescope, 0° enlarged view, autoclavable, with angled eyepiece | 20cm | 2.7mm | Y
4 | 28162BKA |  | HOPKINS® II Forward Oblique telescope, 30° enlarged view, autoclavable, with angled eyepiece | 20cm | 2.7mm | Y
5 | 28162FKA |  | HOPKINS® II Forward Oblique telescope, 45° enlarged view, autoclavable, with angled eyepiece | 20cm | 2.7mm | Y
6 | 28162AUA |  | HOPKINS® II Straight Forward telescope, 0°, autoclavable, with angled eyepiece | 15cm | 2.7mm | Y
7 | 28162BOA |  | HOPKINS® II Forward Oblique telescope, 30° enlarged view, direction of view 12 o'clock position, autoclavable, with angled eyepiece | 15cm | 2.7mm | Y
EAM Telescopes
Standard IQS 40112367
NSW Set# N28162AV
Clearvision Sheaths
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
To protect the optic. When used with a Clearvision pump, allows the cleaning of the distal lens.
8 | 28162AVS |  | Irrigation sheath, for use with 28162AVA telescope | 18cm | 4.8mm | Y
9 | 28162BVS |  | Irrigation sheath, for use with 28162BVA telescope | 18cm | 4.8mm | Y
10 | 28164CBK |  | Irrigation Sheath, for use with 28162BKA telescope | 15cm | 3.8mm | Y
11 | 28164CFK |  | Irrigation Sheath, for use with 28162FKA telescope | 15cm | 3.8mm | Y

## EAM Instruments
EAM Micro Instruments
Standard IQS 40241872
NSW Set# N28162AV2
Sepehrnia Micro Instruments
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
SEPEHRNIA Micro Scissors
1 | 28164SBA |  | Micro scissors with straight, horizantal, sharp/sharp tips, bayonet shaped, working length:10cm | 10cm | N/A | Y
2 | 28164SBB |  | Micro scissors with left curved, sharp/sharp tips, bayonet shaped, working length:10cm | 10cm | N/A | Y
3 | 28164SBC |  | MICRO SCISSORS, BLUNT/BLUNT, STRAIGHT, WORKING LENGTH: 10CM | 10cm | N/A | N
4 | 28164SBD |  | Micro Scissors with jaws curved right, sharp/sharp tips, bayonet shaped, working length:10cm | 10cm | N/A | Y
5 | 28164SBE |  | MICRO SCISSORS, SHARP/SHARP, HORIZONTAL, WORKING LENGTH: 10CM | 10cm | N/A | N
SEPEHRNIA Cup Forceps
6 | 28164PBB |  | Micro Forceps, bayonet-shaped, spoon, vertical opening | 10cm | 2mm | Y
7 | 28164PBE |  |  | 10cm | 4mm | N
8 | 28164PBF |  |  | 10cm | 6mm | Y
9 | 28164PBG |  | Micro Forceps, bayonet-shaped, spoon, horizontal opening | 10cm | 2mm | Y
10 | 28164PBH |  |  | 10cm | 4mm | N
11 | 28164PBI |  |  | 10cm | 6mm | N
SEPEHRNIA Grasping Forceps
12 | 28164PBA |  | Micro Pinzette with 0.5mm smooth tip, bayonet shaped | 10CM | 0.5mm | Y
13 | 28164PBC |  | Micro Forceps with 3mm straight, serrated jaws, bayonet shaped | 10cm | 3mm | Y
14 | 28164PBD |  | Micro Forceps, curved to left, bayonet shaped | 10cm | 0.75mm | N
SEPEHRNIA Needle Holder
15 | 28164NBB |  | MICRO NEEDLE HOLDER, STRAIGHT | 10cm | 2 x 6mm | N
16 | 28164NBC |  | MICRO NEEDLE HOLDER, CURVED LEFT | 10cm | 1 x 6mm | N
SEPEHRNIA Applying Forceps
17 | 28164ZBA |  | Micro applying forceps, Yasargil clips, working length:10cm | 10cm | N/A | Y | Low Profile aneurism clip appliers.
18 | 28164ZBB |  | Micro applying forceps, Yasargil mini clips, working length:10cm | 10cm | N/A | Y
EAM Micro Instruments
Standard IQS 40241872
NSW Set# N28162AV2
Sepehrnia Micro Instruments
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
GODANO Micro Instruments
19 | 28164GKA |  | Micro Grasping Forceps, straight with smooth jaws | 10cm | 1mm | Y
20 | 28164GGA |  |  | 11cm | 2.2mm | N
21 | 28164GKB |  | Micro Grasping Forceps, angled 45° with smooth jaws | 11cm | 1mm | Y
22 | 28164GGB |  |  | 11cm | 2.2mm | N
23 | 28164GKC |  | Micro Grasping Forceps with straight serrated jaws | 11cm | 1mm | Y
24 | 28164GGC |  |  | 11cm | 2.2mm | N
25 | 28164GKD |  | Micro Scissors, straight | 11cm | 1mm | Y
26 | 28164GGD |  |  | 11cm | 2.2mm | N
27 | 28164GKE |  | Micro Scissors angled 30° | 11cm | 1mm | Y
28 | 28164GGE |  |  | 11cm | 2.2mm | N
29 | 28164GKF |  | Micro Scissors angled 60° | 11cm | 1mm | Y
30 | 28164GGF |  |  | 11cm | 2.2mm | N

## TAKE-APART Bipolar Forceps
MIS Bipolar Forceps Set
Standard IQS 40108666
NSW set# N26284
TAKE-APART Bipolar Forceps
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
TAKE-APART® Bipolar Forceps, configuration consisting of: 26284HM-NEURO: Handle 26284AS: Outer Sheath 26284BS: Inner Sheath STERILE, DISPOSABLE INSERTS, AVAILABLE IN VARIOUS CONFIGURATIONS
1 | 28164BDD |  | TAKE-APART® Bipolar Forceps, configuration consisting of: 26284HM-NEURO: Handle 26284AS: Outer Sheath 26284BS: Inner Sheath 28164FGD/2, width 2mm, distally angled 45°, horizontal closing | 20cm | 2mm | Y | Sterile, Single use inserts, Pack of 2; for insert only, order 28164FGD/2.
2 | 28164BDG |  | TAKE-APART® Bipolar Forceps, configuration consisting of: 26284HM-NEURO: Handle 26284AS: Outer Sheath 26284BS: Inner Sheath 28164FDG/2, straight forward, sharp, arrow tip, coaxial closing | 20cm | Arrow tip | Y | Sterile, Single use inserts, Pack of 2; for insert only, order 28164FDG/2
3 | 28164BDK |  | TAKE-APART® Bipolar Forceps, configuration consisting of: 26284HM-NEURO: Handle 26284AS: Outer Sheath 26284BS: Inner Sheath 28164FGK/2, width 4 mm, distally angled 45°, horizontal closing | 20cm | 4mm | Y | Sterile, Single use inserts, Pack of 2; for insert only, order 28164FGK/2
4 | 28164BDL |  | TAKE-APART® Bipolar Forceps, configuration consisting of: 26284HM-NEURO: Handle 26284AS: Outer Sheath 26284BS: Inner Sheath 28164FGL/2, width 1 mm, delicate jaws, distally angled 45°, vertical closing | 20cm | 1mm | Y | Sterile, Single use inserts, Pack of 2; for insert only, order 28164FGL/2
5 | 28164BDM |  | TAKE-APART® Bipolar Forceps, configuration consisting of: 26284HM-NEURO: Handle 26284AS: Outer Sheath 26284BS: Inner Sheath 28164FGM/2, width 1 mm, delicate jaws, distally angled 45°, horizontal closing | 20cm | 1mm | Y | Sterile, Single use inserts, Pack of 2; for insert only, order 28164FGM/2
6 | 28164BDB |  | SHORT TAKE-APART® Bipolar Forceps, configuration consisting of: 26284HM-NEURO: Handle 26284AS: Outer Sheath 26284BS: Inner Sheath 28164FGB/2, short, rounded tip | 14cm | 2mm | N | SHORT, Sterile, Single use inserts, Pack of 2; for insert only, order 28164FGB/2
7 | 28164BDC |  | SHORT TAKE-APART® Bipolar Forceps, configuration consisting of: 26284HM-NEURO: Handle 26284AS: Outer Sheath 26284BS: Inner Sheath 28164FGC/2, short, arrow tip | 14cm | 2mm | N | SHORT, Sterile, Single use inserts, Pack of 2; for insert only, order 28164FGC/2
8 | 26176LA |  | Bipolar high frequency cord, with 2 x 4mm banana cord | 300cm | 2 x 4mm | Y | Compatible with Valleylab
9 | 26284AS |  | Take-Apart bipolar forceps outer sheath for 28164 series dual sheath forceps, 3.4mm x 20cm | 20cm | 3.4mm | Y | Two included in NSW set. For use with all inserts
10 | 26284BS |  | Take-Apart bipolar forceps inner sheath for 28164 series dual sheath forceps, 3.4mm x 20cm | 20cm | 3.4mm | Y | Two included in NSW set. For use with all four inserts
11 | 26284HM-NEURO |  | Bipolar Ring Handle | N/A | N/A | Y | Two included in NSW set. For use with all four inserts ORDER 26284HM-NEURO FOR NEURO CREDIT

## LOTTA
LOTTA Ventriculoscopy Set
Standard IQS 40200831
NSW set# N28164L
Telescopes and Sheaths
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
1 | 28164LA |  | LOTTA HOPKINS 6º TELESCOPE, W/ANGLED EYEPIECE,WKG CHNL:2.9MM,6.1MM X 18CM,ACLAV | 18CM | 6.1MM | Y | Off-Angle eyepiece allows straight working channel and larger, rigid instruments up to 2.7mm.
2 | 28164LO |  | ELIPTICAL TIP OBTURATOR FOR USE WITH 28164LS OPERATING SHEATH | X | X | Y
3 | 28164LS |  | OPERATING SHEATH,WITH GRADUATED SCALE, F/USE W/28164LA TELESCOPE,6.8MM X 13.3CM | 13.3CM | 6.8MM | Y | Operating Sheath is rotatable
4 | 28164LP |  | VISUAL OBTURATOR FOR 28164LS OPERATING SHEATH AND 28008AA HOPKINS 0° TELESCOPE | X | X | Y | Allows visual postioning of 28164LS operating sheath, for use with 28008AA telescope
5 | 28008AA |  | HOPKINS II 0º STRAIGHT FORWARD TELESCOPE, ENLARGED VIEW, AUTOCLAVABLE | 26CM | 2MM | Y | Additional diagnostic scopes available: 28007AA/BA/FA (3.3mm x 25cm)
6 | 28007AA |  | HOPKINS II 0° STRAIGHT FORWARD TELESCOPE, ENLARGED VIEW, AUTOCLAVABLE | 25CM | 3.3MM | N | For diagnostic purposes. Use through operating sheath for further visualization and documentation
7 | 28007BA |  | HOPKINS II 30° FORWARD-OBLIQUE TELESCOPE, ENLARGED VIEW, AUTOCLAVABLE | 25CM | 3.3MM | Y | For diagnostic purposes. Use through operating sheath for further visualization and documentation
8 | 28007FA |  | HOPKINS II 45° TELESCOPE, ENLARGED VIEW, AUTOCLAVABLE | 25CM | 3.3MM | N | For diagnostic purposes. Use through operating sheath for further visualization and documentation
LOTTA Ventriculoscopy Set
Standard IQS 40200831
NSW set# N28164L
Instruments
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
9 | 28164LFA |  | CLICKLINE BIOPSY FORCEPS INSERT/OUTER TUBE, SINGLE ACTION JAWS | 30CM | 2.7MM | Y | Rotatable, strong, rigid, ideal for resection of large tumors. Order 28164LF: Includes 28164LFA insert and 30131 handle
10 | 28162ZE |  | BIOPSY CUP FORCEPS WITH SINGLE ACTION JAWS | 30CM | 2.7MM | N | Strong, rigid, large diameter and jaw size. Ideal for resection of strong tumors.
11 | 28162U |  | RIGID GRASPING FORCEPS WITH TEETH, WITH SGL ACTION JAWS | 28CM | 2.7MM | N | Strong, rigid, large diameter and jaw size. Ideal for resection of strong tumors.
12 | 28164LCA |  | CLICKLINE BIOPSY FORCEPS INSERT/OUTER TUBE, DOUBLE ACTION JAWS | 30CM | 2MM | Y | Rotatable, strong, rigid, ideal for resection of large tumors. Order 28164LC: Includes 28164LCA insert and 30131 handle
13 | 28164LDA |  | CLICKLINE VENTRICULOSCOPY FORCEPS IN/OUT TUBE,DBL ACTN,OUTER SERRATED | 30CM | 2MM | Y | Rotatable, strong, rigid, ideal for resection of large tumors. Order 28164LD: Includes 28164LDA insert and 30131 handle
14 | 28164LEA |  | CLICKLINE GRASPING FORCEPS INSERT/OUTER TUBE,DOUBLE ACTION WITH TEETH | 30CM | 2MM | Y | Rotatable, strong, rigid, ideal for resection of large tumors. Order 28164LE: Includes 28164LEA insert and 30131 handle
15 | 28164LBA |  | CLICKLINE SCISSORS KIT, ROTATABLE, METAL HANDLE, SINGLE ACTION JAWS | 30CM | 2MM | Y | Rotatable, strong, rigid, ideal for resection of large tumors. Order 28164LB: Includes 28164LBA insert and 30131 handle
16 | 28160TVX |  | FLEXIBLE VENTRICULOSTOMY FORCEPS, DOUBLE ACTION OUTER SERRATED JAWS | 30CM | 1.7MM | NSW sample set has 28160TV | Used to perforate the floor the 3rd ventricle. It is sharp enough to puncture the floor of the 3rd ventricle but blunt enough to minimize the risk of injuring the basilar artery. The outer shell of the jaws are serrated to prevent the membrane from slipping away.
17 | 28162F |  | RIGID GRASPING FORCEPS WITH TEETH AND DOUBLE ACTION JAWS | 30CM | 1.7MM | N | Rigid instruments but still low profile.
18 | 28162EK |  | POINTED/BLUNT SCISSORS W/SINGLE ACTION JAWS | 30CM | 1.7MM | N | Rigid instruments but still low profile.
19 | 28162Z |  | RIGID BIOPSY FORCEPS WITH DOUBLE ACTION JAWS | 30CM | 1.7MM | N | Rigid instruments but still low profile.
20 | 28162EM |  | POINTED SCISSORS WITH SLIGHTLY CURVED SNGL ACTN JAWS | 30CM | 1.7MM | N
21 | 28162FP |  | SEMI-RIGID POINTED SCISSORS WITH SINGLE ACTION JAWS | 30CM | 1.3MM | Y
22 | 28160ZJ |  | FLEXIBLE BIOPSY FORCEPS WITH DOUBLE ACTION JAWS | 30CM | 1MM | Y
23 | 28160TJ |  | FLEXIBLE GRASPING FORCEPS WITH DOUBLE ACTION JAWS | 30CM | 1MM | N
24 | 30131 |  | CLICKLINE MINI METAL HANDLE WITHOUT RATCHET | N/A | N/A | Y | Four included in NSW set, for use with 28164LCA/LDA/LEA/LFA inserts
LOTTA Ventriculoscopy Set
Standard IQS 40200831
NSW set# N28164L
Coagulation and Needle/Suction
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
25 | 28164BDV |  | TAKE-APART BIPOLAR FORCEPS WITH FLAT LONG JAWS, Includes: 26176FGR: Handle 28164FSV: Outer tube (2.4MM X 30CM) 28164FGV/2: Bipolar insert, sterile, disposable, 2/pk | 40CM | 2.4MM | N | Bipolar insert 28164FGV/2 - steril pkg/2, disposable product
26 | 28762KB |  | BIPOLAR COAGULATING ELECTRODE, 1.7MM X 30CM | 30CM | 1.7MM | Y | Coaxial Bipolar
27 | 28160KM | N/A | BIPOLAR COAGULATING ELECTRODE, SEMI FLEXIBLE | 35CM | 1.3MM | N
28 | 28160KS/4 |  | Flexible Monopolar Coagulating Electrode, STERILE, SINGLE USE, PACK OF 4 | 45CM | 1MM | N | SINGLE USE
29 | 28160KA/4 |  | Flexible Monopolar Coagulating Electrode, STERILE, SINGLE USE, PACK OF 4 | 53CM | 1MM | N | SINGLE USE
30 | 28160PD |  | FLEXIBLE INJECTION NEEDLE, 2.5MM X 45CM, SINGLE USE | 45CM | 2.5MM | Y | SINGLE USE
31 | 28160PC |  | FLEXIBLE INJECTION NEEDLE, FOR DECQ 1.7MM X 45CM, SINGLE USE | 45CM | 1.7MM | N | SINGLE USE
33 | 28160SF |  | FLEXIBLE SUCTION CATHETER, 2.5MM X 45CM, SINGLE USE | 45CM | 2.5MM | N | SINGLE USE
34 | 28160SB |  | FLEXIBLE SUCTION CATHETER, FOR DECQ 1.7MM X 45CM | 45CM | 1.7MM | N | For evacuating the content of a cyst and irrigating. They are transparent to see fluid content. SINGLE USE
35 | 28160SE |  | Flexible Suction Catheter, UNSTERILE, SINGLE USE | 45CM | 1MM | N | SINGLE USE
36 | 26176LA |  | BIPOLAR HIGH FREQUENCY CORD WITH TWO 4MM BANANA PLUGS FOR VALLEYLAB | N/A | N/A | Y | 26176LD/10 is a sterile, disposable version (10/PKG)
37 | 26006M |  | MONOPOLAR HIGH FREQUENCY CORD, WITH 8MM PLUG, FOR USE WITH HF UNITS | 300CM | 8MM | N
38 | 495NA |  | LIGHT CABLE, 3.5MM X 260CM | 260CM | 3.5MM | N
LOTTA Ventriculoscopy Set
Standard IQS 40200831
NSW set# N28164L
Sterilization Trays
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW samples | Comments
39 | 39314G-ZBX |  | Plastic container for sterilization and storage, with angled eyepiece, perforated, with transparent lid, with inserts for two angled telescopes of up to 10mm, external dimentions 520 x 250 x 84mm | N/A | N/A | N
40 | 27717D-ZBX |  | Plastic container for sterilization and storage, perforated, with transparent lid, for use with up to 12 CLICKLINE instruments with working length up to 36cm, external dimensions 585 x 255 x 145mm | N/A | N/A | N
41 | 39301H-ZBX |  | Plastic container for sterilization and stroage, perforated, with transparent lid, with silicone mat, external dimensions 515 x 233 x 65mm | N/A | N/A | N
42 | 39301B-ZBX |  | Plastic container for sterilization and storage of telescopes, perforated, with transparent lid, with silicone telescope holder, external dimensions 446 x 90 x 45mm, for 4mm or 10mm telescopes | N/A | N/A | N

## Little LOTTA
Little LOTTA Ventriculoscopy System
Standard IQS 40400382
NSW Set# N28164LLA
Telescopes and Sheaths
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
1 | 28164LLA |  | SCHROEDER Ventriculoscope, small, HOPKINS Wide Angle straight forward telescope 6°, with angled eyepiece, outer diameter 3.6mm, instrument channel 1.6mm, with suction and irrigation channel 0.8mm, working length 18cm, autoclavable, with irrigation adaptor, fiber optic light transmission incorporated, use with small operating sheath 28164LLS | 18cm | 3.6mm | Y
2 | 28164LLS |  | Operating Sheath, small, outer diameter 4.5mm, working length 13.3cm, for use with SCHROEDER ventriculoscope 28164LLA | 13.3cm | 4.5mm | Y
3 | 28164LLO |  | Obturator, for use with operating sheath 28164LLS | N/A | N/A | Y
4 | 28164LLP |  | Optical Obturator, for use with operating sheath 28164LLS and optic 28008AA | N/A | N/A | Y
5 | 28008AA |  | HOPKINS II Straight Forward Telescope 0°, enlarged view, autoclavable, for use with optical obturator 28164LLP | 26cm | 2mm | Y
6 | 28007BA |  | Diagnostic Telescope, HOPKINS II Straight Forward Telescope 30°, enlarged view, autoclavable | 25cm | 3.3mm | N | Optional Diagnostic Telescope
7 | 28007FA |  | Diagnostic Telescope, HOPKINS II Straight Forward Telescope 45°, enlarged view, autoclavable | 25cm | 3.3mm | N | Optional Diagnostic Telescope
Little LOTTA Ventriculoscopy System
Standard IQS 40400382
NSW Set# N28164LLA
Micro Instruments and Coagulation
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
8 | 28161SC |  | Scissors, single-action jaws, semi-rigid | 30cm | 1.3mm | Y
9 | 28161SB |  | Biopsy Forceps, double-action jaws, semi-rigid | 30cm | 1.3mm | Y
10 | 28161SG |  | Grasping Forceps, double-action jaws, semi-rigid | 30cm | 1.3mm | Y
11 | 28160TV |  | Ventriculostomy Forceps, double-action jaws, flexible | 30cm | 1mm | Y
12 | 28161SF/4 |  | Coagulating Electrode, Bipolar, semi-rigid | 30cm | 1.3mm | Y | Sterile/Disposable, pack of 4 electrodes
13 | 28161SE/4 |  | Coagulating Electrode, Unipolar, semi-rigid | 30cm | 1.3mm | Y | Sterile/Disposable, pack of 4 electrodes
14 | 26005M |  | Unipolar high frequency cord, with 5mm plug for HF unit | 300cm | 5mm | Y | Compatible with AUTOCON and Erbe type ICC
15 | 26176LA |  | Bipolar high frequency cord, with 2 x 4mm banana cord | 300cm | 2 x 4mm | Y | Compatible with Valleylab
Little LOTTA Ventriculoscopy System
Standard IQS 40400382
NSW Set# N28164LLA
Sterilization Trays
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
16 | 39314G-ZBX |  | Sterilization and storage tray, with angled eyepiece, perforated, with transparent lid, with inserts for two angled telescopes of up to 10mm, external dimensions (w x d x h): 515 x 240 x 84mm | N/A | N/A | N
17 | 39301B-ZBX |  | Sterilizationa and storage tray for Telescopes, perforated, with transparent lid, with silicone telescope holder, external dimensions (w x d x h): 446 x 90 x 45mm | N/A | N/A | N
18 | 39301H-ZBX |  | Sterilization and storage tray, perforated, with transparent lid, with silicone mat, external dimensions (w x d x h): 515 x 237 x 64mm | N/A | N/A | N

## Oi Handy Pro
OI HandyPro Ventriculoscopy System
Standard IQS 40023219
NSW Set# N28161
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
1 | 28008AA |  | HOPKINS II 0º TELESCOPE, 2MM X 26CM AUTOCLAVABLE | 26cm | 2mm | Y | The smallest rodlens optic available for ventriculoscopy
2 | 28008FA |  | HOPKINS II 12º TELESCOPE WITH ENLARGED VIEW, AUTOCLAVABLE, 2MM X 26CM | 26cm | 2mm | Y | 12° allows the centering of instruments on the screen
3 | 28161S |  | OI HANDYPRO NEUROENDOSCOPE WITH REMOVABLE HANDLE FOR FREE HAND SURGICAL TECHNIQUES. CONSISTS OF: (1) 28161SS: GRADUATED OPERATING SHEATH, 2.6MM x 4MM,WL:15CM (1) 28161SH: REMOVABLE HANDLE FOR 28161SS OPERATING SHEATH (1) 28161SO: BLUNT OBTURATOR FOR 28161SS OPERATING SHEATH | 15cm | 2.6mm x 4mm | Y | 3 ports converges into 1 channel: 1 for the instruments + inflow/irrigation + outflow (Simultaneous visualization, irrigation & suction, plus instrumentation). The handle can be removed to mount the sheath to a holder.
4 | 28161SC |  | SEMI-RIGID SCISSORS WITH SINGLE ACTION JAWS | 30cm | 1.3mm | Y
5 | 28161SB |  | SEMI-RIGID BIOPSY FORCEPS WITH DOUBLE ACTION JAWS | 30cm | 1.3mm | Y
6 | 28161SG |  | SEMI-RIGID GRASPING FORCEPS WITH DOUBLE ACTION JAWS | 30cm | 1.3mm | Y
7 | 28160TV |  | FLEXIBLE VENTRICULOSTOMY FORCEPS, DOUBLE ACTION OUTER SERRATED JAWS, 1MM X 30CM | 30cm | 1mm | Y | Used to perforate the floor the 3rd ventricle. It is sharp enough to puncture the floor of the 3rd ventricle, but blunt enough to minimize the risk of injuring the basilar artery beneath the floor/membrane. The outer shell of the jaws are serrated to prevent the membrane from slipping away.
8 | 28160TJ |  | Flexible Grasping Forceps, double action jaws | 30cm | 1mm | N
9 | 28160ZJ |  | Flexible Biopsy Forceps, double action jaws | 30cm | 1mm | N
10 | 28161SE/4 |  | SEMI-RIGID MONOPOLAR COAGULATING ELECTRODE, STERILE, SINGLE USE, PACK OF 4 | 30cm | 1.3mm | Y
11 | 28161SF/4 |  | SEMI-RIGID BIPOLAR COAGULATING ELECTRODE FOR OI HANDY PRO, STERILE, SINGLE USE, PACK OF 4 | 30cm | 1.3mm | Y | Coaxial bipolar. The smallest available on the market
12 | 28160KS/4 |  | Flexible Monopolar Coagulating Electrode, STERILE, SINGLE USE, PACK OF 4 | 45cm | 1mm | N
13 | 28160PA |  | Flexible Injection Needle, UNSTERILE, SINGLE USE | 45cm | 1mm | N
14 | 28160SE |  | Flexible Suction Catheter, UNSTERILE, SINGLE USE | 45cm | 1mm | N
15 | 26006M |  | MONOPOLAR HIGH FREQUENCY CORD W/8MM PLUG F/VALLEYLAB ELECTROSURGICAL UNITS, 300CM | 300cm | 8mm | Y
16 | 26176LA |  | BIPOLAR HIGH FREQUENCY CORD WITH TWO 4MM BANANA PLUGS FOR VALLEYLAB, 300cm | 300cm | 4mm | Y | 26176LD/10 is a sterile, disposable version (10/PKG)
17 | 495NA |  | FIBER OPTIC LIGHT CABLE | 230cm | 3.5mm | N

## Shuntscope
Shuntscope System
Standard IQS 40307435
NSW Set# N28164SS
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
1 | 28164SS |  | MINIATURE SEMI-RIGID 0º SHUNT PLACEMENT, TELESCOPE W/REMOTE EYEPEICE | 16cm | 1mm | Y
2 | 11577KA |  | EXAMINATION SHEATH F/11577 MINI SCOPE, ONE LUER LOCK FITTING | 16cm | 1.3mm | Y
3 | 11580C-ZBX |  | METAL STERILIZATION/STORAGE TRAY FOR MINIATURE STRAIGHT FORWARD TELESCOPE, 373 x 178 x 35mm | N/A | N/A | Y
4 | 495NTA |  | FIBER OPTIC LIGHT CABLE, WITH STRIAGHT CONNECTOR, 2.5MM X 230CM (7.6') | 230cm | 2.5mm | N

## GAAB
GAAB Ventriculoscopy System
Standard IQS 40047425
NSW Set# N28162
Telescopes and Sheaths
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
1 | 28096AGA |  | HOPKINS® II Straight Forward telescope, 6° autoclavable, wide angle, with angled eyepiece, instrument channel:3mm | 15cm | 3mm | Y
2 | 28162BS |  | Operating sheath, graduated with stopcock and inlet | 13cm | 6.5mm | Y
3 | 28162BO |  | Obturator, F/28164BS | N/A | N/A | N
4 | 28162BD |  | VISUAL OBTURATOR F/28162BS SHEATH AND 28018AA HOPKINS 0° TELESCOPE | N/A | N/A | Y | Optical obturator to be used with 2.7mm optic 28018AA
5 | 28018AA |  | HOPKINS® II Straight Forward telescope, 0° autoclavable; used with visual obturator 28162BD | 18cm | 2.7mm | Y | Used with the obturator 28162BD as an Optical Obturator allowing visualization during the introduction of the sheath.
6 | 28132AA |  | HOPKINS® II Straight Forward telescope, 0° autoclavable | 18cm | 4mm | Y | Diagnostic scope
7 | 28132BA |  | HOPKINS® II Forward Oblique telescope, 30° autoclavable | 18cm | 4mm | Y | Diagnostic scope
8 | 28132FA |  | HOPKINS® II Forward Oblique telescope, 45° autclavable | 18cm | 4mm | NSW sample has 28132BWA | Diagnostic scope
9 | 28132CA |  | HOPKINS® II Lateral telescope, 70° autoclavable | 18cm | 4mm | Y | Diagnostic scope
GAAB Ventriculoscopy System
Standard IQS 40047425
NSW Set# N28162
Instruments and coagulation
| PART # | IMAGE | DESCRIPTION | Length | Size |  | Comments
10 | 28162E |  | Telescope bridge for use with HOPKINS® II telescope 28132 BA/BW/CA/CF through operating sheath 28162BS | N/A | N/A | Y | Used to prevent diagnostic scopes from going too deep and hitting blind spots.
11 | 28162EA |  | Telescope bridge for use with HOPKINS® II telescope 28132AA through operating sheath 28162 BS | N/A | N/A | Y | Used to prevent diagnostic scopes from going too deep and hitting blind spots.
12 | 28161LD |  | Deflecting Mechanism for LASER probe, bent action, adjustment wheel w/wing grip handle | 38cm | inner dia. 2.5mm | Y | Used to introduce and steer a laser fiber in accounts that owns a laser.
13 | 28162DH |  | Biopsy punch forceps, through-cutting, single action jaws | 30cm | 2.7mm | Y | Strong, rigid, large diameter and jaw size. Ideal for resection of strong tumors.
14 | 28162EH |  | Hook scissors, single action jaws | 30cm | 2.7mm | Y | Strong, rigid, large diameter and jaw size. Ideal for resection of strong tumors.
15 | 28162EK |  | Scissors, pointed/blunt, single action jaws | 30cm | 1.7mm | Y | Rigid instruments but still low profile.
16 | 28162EP |  | Scissors, pointed, single action jaws | 30cm | 2.7mm | Y | Strong, rigid, large diameter and jaws size. Ideal for resection of strong tumors.
17 | 28162ES |  | Scissors, blunt/blunt, single action jaws | 30cm | 1.7mm | Y | Rigid instruments but still low profile.
18 | 28162F |  | Grasping forceps, double action jaws | 30cm | 1.7mm | Y | Rigid instruments but still low profile.
19 | 28162P |  | Grasping forceps, double action jaws | 30cm | 1.7mm | Y | Rigid instruments but still low profile.
20 | 28160TVX |  | Forceps, flexible, for ventriculostomy | 30cm | 1.7mm | Y | Used to perforate the floor the 3rd ventricle. It is sharp enough to puncture the floor of the 3rd ventricle but blunt enough to minimize the risk of injuring the basilar artery beneath the floor/membrane. The outer shell of the jaws are serrated to prevent the membrane from slipping away.
21 | 27023WU |  | Balloon catheter, STERILE, SINGLE USE package of 2 |  | 3 Fr. | Y | To safely enlarge the opening in the floor of the 3rd ventricle. SINGLE USE
22 | 28162SN |  | Irrigation tube, autoclavable with LUER lock connection |  |  | Y | For irrigation. They are transparent to see fluids content. Disposable
23 | 28162U |  | Grasping forceps, single action jaws | 30cm | 2.7mm | Y | Strong, rigid, large diameter and jaw size. Ideal for resection of strong tumors.
24 | 28162ZE |  | Biopsy forceps, single action jaws | 30cm | 2.7mm | Y | Strong, rigid, large diameter and jaw size. Ideal for resection of strong tumors.
25 | 28162Z |  | Biopsy forceps, double action jaws | 30cm | 1.7mm | Y | Rigid instrument but still low profile.
26 | 28163UKC |  | Spoon forceps, oval, single action jaws Insert only, For use with 30131 handle | 30cm | 2mm | Y | Low profile instrument, but robust. Ideal for resection of strong tumors.
27 | 28163UMC |  | CLICKLINE ® Insert spoon forceps, oval, single action jaws, Insert only, For use with 30131 handle | 30cm | 2mm | Y | Low profile instrument, but robust. Ideal for resection of strong tumors.
28 | 28762K |  | Coagulating electrode, unipolar, semi-flexible | 30cm | 1.7mm | Y
29 | 28762KB |  | Coagulating electrode, bipolar | 30cm | 1.7mm | Y | Coaxial Bipolar. Rigid and efficient.
30 | 26176LA |  | Bipolar high frequency cord with banana plugs f/ valleylab |  | 4mm | Y | 26176LD/10 is a sterile, disposable version (10/PKG)
31 | 26006M |  | Unipolar High Frequency cord, with 8mm plug of HF unit | 300cm |  | Y
32 | 33121 |  | CLICKLINE ® plastic handle, insulated without ratchet, rotating with monopolar coagulation |  |  | Y
33 | 33125 |  | CLICKLINE ® metal handle, insulated without ratchet, rotating with monopolar coagulation |  |  | Y
34 | 30131 |  | CLICKLINE ® small metal handle without ratchet, rotating, without connector pin for monopolar coagulation |  |  | Y
35 | 33131 |  | CLICKLINE ® metal handle without ratchet, rotating, without connector pin for monopolar coagulation |  |  | Y
36 | 30210KJ |  | CLICKLINE ® Reddick-Olsen serrated insert/outer tube, 2mm x 30cm Insert/Outer tube only. For use with 33121 handle | 30cm | 2mm | Y | Click-Line forceps: Low profile instruments, but robust. Rotatable 360º. Ideal for resection of strong tumors
37 | 30210MD | N/A | CLICKLINE KELLY DISSECTOR/GRASPING FRCPS INSERT/OUTER TUBE, 2MM X 30CM Insert/Outer tube only. For use with 33121 handle | 30cm | 2mm | Y | Click-Line forceps: Low profile instruments, but robust. Rotatable 360º.Ideal for resection of strong tumors
38 | 30210MS | N/A | CLICKLINE METZENBAUM SCISSORS INSERT/ OUTER TUBE, CURVED BLADES, 2MM X 30CM Insert/Outer tube only. For use with 33125 handle | 30cm | 2mm | Y | Clickline forceps: Low profile instruments, but robust. Rotatable 360º.Ideal for resection of strong tumors
39 | 30200UX | N/A | SUCTION/COAGULATION CANNULA WITH TRUMPET VALVE, 2MM X 30CM | 30cm | 2mm | Y
40 | 30200UF | N/A | MONOPOLAR L-SHAPED DISSECTING ELECTRODE, 2MM X 30CM | 30cm | 2mm | Y | Ideal for cutting while coagulating.
41 | 30200T | N/A | PALPATION PROBE WITH CM MARKINGS, 2MM X 30CM | 30cm | 2mm | Y
42 | 30200FN | N/A | NEEDLE HOLDER WITH AXIAL HANDLE AND RATCHET, 2MM X 30CM | 30cm | 2mm | Y
43 | 28162BDL |  | BIPOLAR GRASPING FORCEPS WITH FLAT JAWS, Includes: 26176FGR: Handle 26167FGF: Outer tube 28162FGL/2: Bipolar insert, sterile, disposable, 2/pk | 26cm | 2.4mm | Y

## 2.8mm Neurofiberscopes
Flexible Neurofiberscope - 2.8mm
Standard IQS 40023482
NSW Set# N11161C1
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
1 | 11161C1 |  | Flexible Neuroendoscope, 2.8MM X 40CM Working channel:1.2MM Deflection: 170ºU/120ºD | 40cm | 2.8mm | Y | Low profile and steerable scope. Ideal for pediatrics and simple ETVs. Allows movement of instruments inside the field and access to remote targets.
2 | 11161KA |  | Biopsy Forceps, single action jaws, flexible | 60cm | 1mm | Y
3 | 11161KB |  | Grasping Forceps, single action jaws, flexible | 60cm | 1mm | Y
4 | 28160TVL |  | Ventriculostomy forceps, double action outer serrated jaws, flexible | 60cm | 1mm | Y | Used to perforate the floor of the 3rd ventricle. Sharp enough to puncture the floor of the 3rd ventricle but blunt enough to minimize the risk of injuring the basilar artery. The outer shell of the jaws are serrated to prevent the membrane from slipping away.
5 | 11161AB/4 |  | Flexible Monopolar Coagulating Electrode, STERILE/SINGLE USE, 4/PKG | 73cm | 1mm | Y
6 | 26005M |  | Monopolar high frequency cord with 4mm plug for STORZ/ERBE ICC ES Units, 300cm | 4mm | 300cm | Y
7 | 495NA |  | Fiberoptic light cable, with straight connector | 230cm | 3.5mm | N

## 3.7mm Neurofiberscope
Flexible Neurofiberscope - 3.7mm
Standard IQS 40023482
NSW Set# N11282BN1
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
1 | 11282BN1 |  | FLEXIBLE NEUROENDOSCOPE, 3.7MM X 34CM, 1.5MM WK CHNL, DEFLECTION:180ºU/100ºD | 34cm | 3.7mm | Y | Low profile, steerable scope. Ideal for pediatrics and simple ETVs. Allows movement of the instruments inside the field and access to remote targets.
2 | 11161KA |  | Biopsy Forceps, single action jaws, flexible | 60cm | 1mm | Y
3 | 11161KB |  | Grasping Forceps, single action jaws, flexible | 60cm | 1mm | Y
4 | 28160TVL |  | Ventriculostomy forceps, double action outer serrated jaws, flexible | 60cm | 1mm | Y | Used to perforate the floor of the 3rd ventricle. Sharp enough to puncture the floor of the 3rd ventricle but blunt enough to minimize the risk of injuring the basilar artery. The outer shell of the jaws are serrated to prevent the membrane from slipping away.
5 | 11161AB/4 |  | Flexible Monopolar Coagulating Electrode, STERILE/SINGLE USE, 4/PKG | 73cm | 1mm | Y
6 | 26005M |  | Monopolar high frequency cord with 4mm plug for STORZ/ERBE ICC ES Units, 300cm | 4mm | 300cm | Y

## MITAKA Holding Arm
MITAKA Arm Set
Standard IQS 40023220
NSW Set# N28172W
Holding arm system
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
1 | 28172P |  | MITAKA POINTSETTER ARM ONLY | N/A | N/A | Y | INCLUDED IN 2 KIT CONFIGURATIONS: 28172WKS-KT, 28172WKL-KT
2 | 28172O |  | STANDARD BASE / OR TABLE ADAPTOR FOR MITAKA POINTSETTER ARM | N/A | N/A | Y | INCLUDED NEW KIT CONFIGURATION: 28172WKS-KT
3 | 28172T |  | LIGHT BASE/OR TABLE ADAPTOR FOR MITAKA POINTSETTER ARM | N/A | N/A | N | INCLUDED NEW KIT CONFIGURATION: 28172WKL-KT
4 | 28172PS1 |  | MICRO MANIPULATOR USE WITH MITAKA ARM | N/A | N/A | Y | ALLOWS MICRO ADJUSTMENTS IN THREE DIFFERENT DIRECTIONS (X, Y AND Z PLANES) NOT INCLUDED IN 28172WKS-KT OR 28172WKL-KT. ORDER SEPARATELY
5 | 28172WD | N/A | DRAPE FOR USE WITH 28172W MITAKA POINT SETTER ARM, 10/PKG, STERILE | N/A | N/A | Y | INCLUDED IN 2 KIT CONFIGURATIONS: 28172WKS-KT, 28172WKL-KT
6 | 28172WN |  | NITROGEN HOSE - SCHRADER CONNECTOR | N/A | N/A | Y
7 | 28272UA |  | POINT SETTER KSLOCK Adaptor | N/A | N/A | N
8 | 28272UKN |  | CLAMPING JAW INTAKE RANGE 4.8MM-12.5MM | N/A | N/A | N
9 | 28272UGN |  | ADJUSTABLE CLAMPING JAW FOR HOLDING ARM F/SQUARE HEAD SCOPES INTAKE 16.5MM - 23M | N/A | N/A | N
10 | 28272UF |  | CLAMPING JAW FOR HOLDING SYSTEM FOR USE WITH FLEXIBLE ENDOSCOPES | N/A | N/A | N | NOT INCLUDED IN KITS, ORDER SEPARATELY
11 | 20020083-NSM |  | STOR-E™ TRANSPORT CART | N/A | N/A | N | NOT INCLUDED IN KITS, ORDER SEPARATELY (FOR STORAGE, MUST ORDER 20020059-NSM OR 28172WK)
12 | 28172WK |  | CASE FOR ALL MITAKA POINT SETTER ARMS | N/A | N/A | N
13 | 28172WF |  | ADAPTOR TO CONNECT 28172W POINT SETTER ARM TO METAL HANDLE FLEXIBLE ENDOSCOPES | N/A | N/A | N | MITAKA ADAPTOR, USED STAND ALONE; WILL NOT WORK WITH KSLOCK ADAPTOR 28272UA
14 | 28172WU |  | UNIVERSAL ADAPTOR TO CONNECT 5MM-10MM INSTRUMENTS TO 28172W POINT SETTER ARM | N/A | N/A | Y
15 | 28172WV |  | UNIVERSAL ADAPTOR TO CONNECT 10MM-15MM INSTRUMENTS TO 28172W POINT SETTER ARM | N/A | N/A | Y
16 | 28172WX |  | UNIVERSAL ADAPTOR F/10MM-15MM PEDI/SHORT INSTRUMENTS FOR 28172W POINT SETTER ARM | N/A | N/A | Y

## Manual Holding Arm
Manual Holding Arm System
Standard IQS 40023527
NSW Set# N28272NEU
| PART # | IMAGE | DESCRIPTION | Length | Size | Included in NSW sample | Comments
1 | 28172HR |  | HOLDING SYSTEM SOCKET ONLY, FOR OPERATING TABLE RAILS, HEIGHT AND ANGLE ADJUSTABLE | N/A | N/A | Y | INCLUDED IN KIT 28272-NEU
2 | 28272HB |  | ARTICULATED STAND, REINFORCED VERSION, 5 JOINT FUNCTIONS,HEIGHT 48CM,RANGE 52CM | N/A | N/A | Y | INCLUDED IN KIT 28272-NEU
3 | 28272UF |  | CLAMPING JAW FOR HOLDING SYSTEM, FOR USE WITH POLYMER HOUSING FLEXIBLE ENDOSCOPES | N/A | N/A | Y | INCLUDED IN KIT 28272-NEU
4 | 28272UL |  | CLAMPING JAW, UNIVERSAL, CLAMPING RANGE 0 TO 18MM, WITH QUICK RELEASE COUPLING KSLOCK | N/A | N/A | Y | NOT INCLUDED IN KIT, ORDER SEPARATELY
5 | 28272UK |  | CLAMPING JAW FOR HOLDING SYSTEM WITH AXIAL INTAKE, CLAMPING RANGE:4.8MM-12.5MM | N/A | N/A | Y | INCLUDED IN KIT 28272-NEU
6 | 28272UGN |  | CLAMPING JAW, FOR USE WITH ALL SQUARE-HEADED HOPKINS TELESCOPES, CLAMPING RANGE: 16.5 - 23MM | N/A | N/A | Y | NOT INCLUDED IN KIT, ORDER SEPARATELY
7 | 39351J-ZBX |  | PLASTIC CONTAINER FOR STERILIZATION AND STORAGE, PERFORATED WITH TRANSPARENT LID, FOR TWO LEVEL STORAGE (530 x 250 x 145mm) | N/A | N/A | N | NOT INCLUDED IN KIT, ORDER SEPARATELY